SECTION 701 - UNDERGROUND STORMWATER DRAINS

##This section cross-references Sections 173, 175, 610, 619, 632, 687, 689, 703 and 709.

If any of the above sections are relevant, they should be included in the specification.

If any of the above sections are not included in the specification, all references to those sections should be struck out, ensuring that the remaining text is still coherent:

701.01 GENERAL

This section covers the requirements for the supply, delivery, transport, and installation of underground stormwater drains, including pipes and culverts, together with the construction of inlet and outlet structures (endwalls, catchpits, basins, etc.), erection of marker posts, and the removal and/or relaying of existing culverts, as shown on the drawings or as specified.

701.02 STANDARDS

Materials, design and construction of underground stormwater drains shall comply with the requirements of relevant Standards including:

(a) Australian Standards

AS 1254 Unplasticized PVC (UPVC) pipes and fittings for storm water and surface water applications

AS 1646 Elastomeric seals for waterworks purposes

AS 1683 Methods of testing for elastomers

AS/NZS 2041 Buried corrugated metal structures

AS/NZS 2566 Buried Flexible Pipelines

AS 3571 Plastics piping systems

AS 3572 Plastics – Glass filament reinforced plastic (GRP) – Methods of test

AS 3582.1 Supplementary cementitious materials for use with portland and blended cement – Part 1: Fly ash

AS 3582.2 Supplementary cementitious materials for use with portland and blended cement – Part 2: Slag ‑ Ground granulated iron blast furnace

AS 3582.3 Supplementary cementitious materials for use with portland and blended cement – Part 3: Amorphous silica

AS 3972 General purpose and blended cements

AS/NZS 4058 Precast concrete pipes (pressure and non pressure)

AS 4139 Fibre-reinforced concrete pipes and fittings

AS/NZS 4441 Oriented PVC (PVC-O) pipes for pressure applications

AS/NZS 5065 Polyethylene and polypropylene pipes and fittings for drainage and sewerage applications

AS 5100 Bridge Design

(b) Additional referenced specifications

ATIC-SPEC SP43 – Cementitious Materials for Concrete published by ATIC (Australian Technical Infrastructure Committee)

Section 175 details the relevant references to these documents.

**©** Department of Transport May 2020

Section 701 (Page 1 of 14)

701.03 DEFINITIONS

**Cement:** Material complying with the requirements of AS 3972 and as specified in this section.

**Cementitious Material:** Portland cement or a mixture of portland cement with one or more of Fly Ash, Ground Granulated Blast Furnace Slag (GGBF Slag), or Amorphous Silica complying with the requirements of AS 3582.1, AS 3582.2 and AS 3582.3 respectively and as specified in this section.

**Culvert:** An underground stormwater drain consisting of pipes, arch or box sections.

**Flexible Pipes**: Buried flexible pipes which rely primarily upon side support to resist vertical loads without excessive deformation. It applies specifically to plain or structured wall plastic pipes and fittings manufactured from the following materials:

(a) unplasticized polyvinyl chloride (UPVC)

(b) oriented polyvinyl chloride (OPVC)

(c) acrylonitrile butadiene styrene (ABS)

(d) glass filament reinforced plastics (GRP)

(e) polyethylene (PE)

(f) high-density polyethylene (HDPE)

(g) polypropylene (PP).

**Precast reinforced concrete pipes**: Pipes manufactured from Portland cement-based concrete or geopolymer binder-based concrete as specified in Section 703. In the context of the manufacture of reinforced concrete pipes, portland cement concrete and geopolymer binder concrete are equivalent products.

701.04 PRECAST REINFORCED CONCRETE BOX CULVERTS

Precast reinforced concrete box culverts shall comply with the requirements of Section 619.

701.05 PRECAST REINFORCED CONCRETE PIPES

(a) General

Portland cement-based conventional precast reinforced concrete pipes shall comply with the requirements of AS/NZS 4058 and as specified in this section.

Geopolymer binder-based precast reinforced concrete pipes shall comply with the requirements of AS/NZS 4058 and this section, except that the concrete used shall comply with the requirements of Section 703 for geopolymer concrete with compressive strengths appropriate to the nominated load class performance requirements.

Precast reinforced concrete pipes covered by this section shall be used for drainage not subject to internal pressure and the required sizes and load classes shall be as specified on the drawings and specification.

Rubber ring joints shall comply with the requirements of AS 1646.

The clear cover to steel reinforcement shall be in accordance with the requirements of Table 3.1 of AS/NZS 4058 for normal and marine environments.

For precast reinforced concrete pipes subject to an aggressive environment (i.e. other environment as defined in Clause 1.3 of AS/NZS 4058), additional clear cover, use of coatings, other protective treatments or a combination of these shall be as specified on the drawings and specification.

Aggregates for precast reinforced concrete pipes shall comply with the requirements of Section 610.

Pressure pipes shall be as specified on the drawings and specification.

**©** Department of Transport May 2020

Section 701 (Page 2 of 14)

(b) Concrete mix design

Concrete mix designs used for the manufacture of precast reinforced concrete pipes shall not be more than 12 months old and shall be available for review by the Superintendent.

(c) Cementitious material blends

Cementitious materials shall comply with the requirements of Clause 701.09. Cementitious material blends used for the manufacture of precast reinforced concrete pipes for normal, marine and aggressive environments shall be as stated in this clause.

(i) Normal environment

The minimum mass of Type General Purpose (GP) cement in concrete mixes containing Slag, Fly Ash or Amorphous Silica shall be 60%, 75% or 90% respectively, of the total mass of cementitious material in the concrete mix. The inclusion of Slag, Fly Ash or Amorphous Silica in concrete mixes shall only be in single or double combination with Type GP cement.

In a triple blend concrete mix, the Type GP cement content shall be a minimum of 60% and the individual contribution of Slag, Fly Ash or Amorphous Silica shall be a maximum of 40%, 25% or 10% respectively, of the total mass of the cementitious material in the concrete mix.

(ii) Marine and aggressive environments

Cementitious material shall be a blend of Type General Purpose (GP) cement compliant with any of the following criteria with the combined total adding to 100%.

* 65% to 80% GP cement, 20% to 35% 3fly ash
* 50% to 55% GP cement, 20% to 25% ground granulated blast furnace slag, and 25% to 30% fly ash
* 60% to 70% GP cement, 5% to 10% amorphous silica, and 25% to 30% fly ash.

Type High Early (HE) cement which also satisfies the requirements of Type General Purpose (GP) cement may be substituted for Type GP Cement in any of the blends.

(d) Additional requirements

Additional routine sampling and testing of precast reinforced concrete pipes shall include ultimate load, water absorption, cover to steel reinforcement, dimensional accuracy and joint assembly in accordance with the requirements of AS/NZS 4058.

The design diameter as defined in AS/NZS 4058 shall not be less than:

(i) 95% of the nominal size shown on the drawings for all classes of pipes up to and including Class 6.

(ii) 90% of the nominal internal diameter for -

* Class 8 and 10 pipes with 10 mm of cover
* Pipes with 20 mm or more of cover.

(e) Acceptance of precast reinforced concrete pipes

Precast reinforced concrete pipes shall be accepted on the basis of full compliance with the requirements of this section and AS/NZS 4058.

Documentation supporting the following quality requirements shall be submitted for review by the Superintendent upon transport and delivery of pipes to site:

(i) visual inspection

(ii) proof load test results

(iii) ultimate load test results

(iv) dimensional measurements

(v) measurements of clear cover to steel reinforcement

(vi) joint assembly.

**©** Department of Transport May 2020

Section 701 (Page 3 of 14)

701.06 FIBRE-REINFORCED CONCRETE (FRC) RIGID PIPES

(a) General

FRC rigid pipes shall comply with the requirements of AS 4139 and shall have a design life of 100 years.

FRC rigid pipes shall comply with the rigid pipe strength requirements of Clause 11.1(a) of AS 4139, with the load regression factor (R) determined in a manner consistent with the design life of 100 years.

FRC rigid pipes may be supplied in diameter sizes up to and including 750 mm.

FRC rigid pipes shall be used for drainage and the required sizes, load classes and installation conditions shall be as shown on the drawings.

The FRC rigid pipe jointing shall consist of flexible elastomeric, double V‑ring joints in accordance with AS 1646 and an external collar in accordance with AS 4139 Appendix M figure M1 (b)(i). Flush or butt joints shall only be used for the first pipe when extending existing pipes.

(b) Additional requirements

Further to the requirements of AS 4139 the following tests shall be undertaken:

(i) one pipe per 100 pipes or part thereof of each size and class shall be load tested in accordance with clause 10.1 of AS 4139

(ii) one pipe per 50 pipes or part thereof of each size and class shall be tested for internal diameter, wall thickness, pipe length, squareness of ends, and straightness in accordance with the dimension and tolerance requirements of clause 9 of AS 4139

(iii) testing for restrictions on chemical content (acid-soluble chloride and sulphate ions) as described in Section 6.1.7 of AS 4139 shall be at 6 monthly intervals.

The design diameter as defined in AS 4139 shall not be less than 95% of the nominal size shown on the drawings for all classes of pipes.

FRC rigid pipes shall be accepted on the basis of full compliance with the requirements of this section and AS 4139. Documentation supporting these quality requirements shall be submitted for review by the Superintendent upon transport and delivery of pipes to site.

701.07 BURIED CORRUGATED METAL CULVERTS

Buried corrugated metal culverts shall be designed and constructed in accordance with the requirements of Section 632 and AS/NZS 2041.

701.08 BURIED FLEXIBLE PIPES

Buried flexible pipes shall be designed and constructed in accordance with relevant Australian Standards listed in Section 701.02.

Buried flexible pipes shall not be used directly under the road pavement area.

701.09 ADDITIONAL MATERIAL REQUIREMENTS

(a) Cement

Cement used in the manufacture of pipes shall comply with the requirements of AS 3972 and ATIC‑SPEC SP43. Cement per batch of concrete shall be from one manufacturer and of one brand, type and grind.

Cement shall be pre-registered under the Cementitious Material Registration Scheme (CMRS) in accordance with ATIC‑SPEC SP43.

Cement more than 3 months old shall not be used in the manufacture of pipes unless it is re‑tested to demonstrate compliance with the requirements of AS 3972 and ATIC‑SPEC SP43.

**©** Department of Transport May 2020

Section 701 (Page 4 of 14)

(b) Fly Ash, Slag and Amorphous Silica

Fly Ash, Slag and Amorphous Silica used in the manufacture of pipes shall comply with the requirements of AS 3582.1, AS 3582.2 and AS 3582.3 respectively and ATIC‑SPEC SP43 and shall be from one manufacturer and of one brand, type and fineness.

Fly Ash, Slag and Amorphous Silica shall be pre-registered under the cementitious Material Registration Scheme (CMRS) in accordance with ATIC‑SPEC SP43.

(c) Reinforcement

Further to the requirements of AS/NZS 4058 steel reinforcement used in the manufacture of precast reinforced concrete pipes shall carry third party certification by the Australian Certification Authority for Reinforcing Steel (ACRS) or equivalent. Steel reinforcement used with no third‑party certification shall be subject to approval by the Superintendent.

Nibs and spacers used to maintain cover to reinforcement during manufacture of precast reinforced concrete pipes shall be one of the following:

(i) Normal and Marine Environments – Steel Nibs or Stainless Steel Nibs

(ii) Aggressive Environments – Stainless Steel Nibs.

Steel nibs shall be manufactured from material compliant with AS/NZS 4671. Stainless steel nibs shall be manufactured from a grade of stainless steel in accordance with Section 3.2 of AS 5100.5.

Plastic nibs or spacers shall not be used.

(d) Bedding and backfill materials

Materials used for bedding and selected backfill shall be free from perishable matter and lumps and shall conform with the requirements of Table 701.091 and Table 701.092 below.

Ordinary backfill shall be free from perishable matter and shall conform with the requirements of Table 701.091.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Table 701.091** | | | | | |
| **Material** | **Sieve Size - AS (mm)** | | | | |
| **75.0** | **37.5** | **19.0** | **2.36** | **0.075** |
| **Percentage Passing (by mass)** | | | | |
| Bedding | - | - | 100 | - | 5‑40 |
| Selected Backfill | - | 100 | - | - | 5‑40 |
| Ordinary backfill | 100 | - | - | 40‑100 | - |

|  |  |
| --- | --- |
| **Table 701.092** | |
| **Test** | **Test Value** |
| Plasticity Index (Max.) | 20 |

(e) General concrete paving

Cast-in-place concrete edgings, paths and other surfacings shall comply with the requirements of Section 703.

**©** Department of Transport May 2020

Section 701 (Page 5 of 14)

(f) Mortar

Mortar used in the laying of box culvert sections or as jointing for pipes shall comply with the requirements of clause 610.32.

(g) Marker posts

Marker posts shall comply with the requirements of Section 709.

701.10 CONFORMITY WITH DRAWINGS

The Contractor shall set out the drainage work in accordance with the drawings.

**HP** **Prior to commencement of excavation for the culverts the Contractor shall confirm the position of all culverts with the Superintendent**.

The culverts constructed shall be constructed true to line and level.

Where it is necessary to modify the line or levels of drainage lines shown on the drawings the Superintendent shall be notified of the proposed design change prior to excavation for the drainage lines. The design change notice shall include certification by the designer that the change complies with the design requirements.

Unless specified otherwise the tolerance on location of pipes compared to the design or a change to the design notified in accordance with this clause shall be:

(a) offset of entry pits required to match lines of kerbs or barriers ±20 mm

(b) plan location of pits other than offsets to kerb lines or barriers ±100 mm

(c) invert level of pipes at pits ±50 mm

(d) departure from design grade of pipe runs ±10 mm in 10 m provided minimum grade is not less than 1:250

**The location of each run of underground drainage shall be verified by a survey certificate prior to backfilling the culverts and shall be recorded progressively on the Contractor’s as‑constructed drawings.**

701.11 STOCKPILING OF MATERIALS

Materials shall not be stockpiled or stored on any carriageway or footpath without the consent of the Superintendent.

Proprietary products (e.g. flexible pipes) shall be transported and stockpiled in accordance with the manufacturer’s requirements. Where necessary, shield pipes and fittings from sunlight to avoid UV damage and heat distortion.

701.12 PROVISION FOR DRAINAGE DURING CONSTRUCTION

The Contractor shall provide for the safe discharge of seepage, and stormwater at all times during the construction of any culvert, and for the effective de‑watering of excavations. Before obstructing any waterway, channel, culvert, or pipe, the Contractor shall make provision for temporary diversion of flow, and obtain prior written approval from the relevant waterway authority.

701.13 INSTALLATION OF CULVERTS IN FILLS UNDER CONSTRUCTION

Before laying any single row or multiple row culvert in fill, the fill shall first be constructed and compacted to subgrade level or to a level 0.3 m above the top of the proposed culvert, whichever is the lower, for a distance of not less than 6 m clear on either side of the proposed trench. The trench shall then be excavated through this fill as provided in clause 701.15 and the culvert installed.

**©** Department of Transport May 2020

Section 701 (Page 6 of 14)

701.14 CONSTRUCTION LOADING ON CULVERTS

Until the minimum compacted thickness of cover specified in Table 701.141 below for a particular range of axle or track loading has been provided over any culvert, construction traffic shall not be permitted to cross that culvert. A temporary embankment extending not less than 15 m on both sides of the culvert may be used to provide the necessary cover.

**Table 701.141**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Range of Axle or Track Loading**  **(tonne)** | **Required Cover Thickness (Metre) (Min.)** | | | | | | | |
| **Type, Size, and Class of Culvert** | | | | | | | |
| **Pipe** | | | | | | **Corrugated Metal** | **Box Culvert**  **90 kN Proof Load** |
| **Pipe Class** | | | | | | **D 1200‑3600 mm** |
| **2** | | **3** | | **4** | |
| **D<1.2m** | **D>1.2m** | **D<1.2m** | **D>1.2m** | **D<1.2m** | **D>1.2m** |
| 0 – 9 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | - | 0.1 |
| 9 – 20 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 1.2 | 0.6 |
| 20 – 35 | 0.7 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 1.5 | 0.9 |
| 35 – 50 | 0.9 | 0.7 | 0.6 | 0.5 | 0.5 | 0.4 | 1.8 | 1.2 |
| 50 – 60 | # | # | 0.8 | 0.8 | 0.7 | 0.7 | 2.1 | 1.5 |

# This range of loading not permissible.

D Nominal Pipe diameter

D less than 1200 mm not permitted, D more than 3600 mm as directed by the Superintendent.

701.15 EXCAVATION

Excavation for installation of culverts shall include all excavation necessary to prepare the culvert foundation and provide the full specified depth of culvert bedding. Where necessary the foundation shall allow for pipes with protruding sockets. Where practical, trench walls shall be vertical, with temporary protection as required.

For box culverts, the width of the trench shall be such that the clearance from the outside of the culvert to the wall of the trench is in the range 0.5 to 1.0 times the overall height of the culvert.

For pipe culverts, the width of trench at and below the level of the top of the pipe shall be such that the horizontal clearance from the outside of the pipe to the wall of the trench is within the limits shown in Table 701.151.

**Table 701.151**

|  |  |  |  |
| --- | --- | --- | --- |
| **Pipe Type** | **Nominal Pipe Diameter**  **or Width**  **(mm)** | **Horizontal Clearance to Wall of Trench** | |
| **Min. (mm)** | **Max. (mm)** |
| Corrugated Metal Culvert | All | 300 | 1,000 |
| Other | All | 300 | 600 |

The base of the trench shall be compacted to refusal using mechanical plant.

The Contractor shall treat or replace all soft, wet or unstable material below the level required to provide the minimum specified thickness of culvert bedding, as specified in clause 701.16. Replacement material if used, shall be compacted in accordance with clause 701.20.

For flexible pipes, the width of trench excavations shall be as shown on the Drawings, or where no dimension is shown, in accordance with minimum dimensions specified in AS/NZS 2566.1.

**©** Department of Transport May 2020

Section 701 (Page 7 of 14)

701.16 CULVERT BEDDING

Bedding material shall be provided and placed for the full width of the trench or, where the culvert is to be placed without trenching, to a width 0.8 m greater than the overall width of the culvert. The compacted thickness of bedding material following any shaping necessary shall be not less than:

* 100 mm where D < 1500 mm
* 200 mm where D ≥ 1500 mm

where D is the nominal pipe diameter or culvert width.

When the sections are in position, an additional layer of bedding material shall be placed to a height equal to 30% of the nominal pipe diameter or culvert height. This material shall be placed between the pipe and the outer limits of the lower layers of bedding, and shall be compacted as specified in clause 701.20.

701.17 LAYING

(a) General

Laying of pipes or box culverts shall not commence until the Contractor has verified that culvert bedding complies with the specified lines and levels and compaction requirements, and that box culverts and pipes are not damaged and comply with the requirements of clause 701.04 and Clause 701.05 respectively. Laying of pipes or box culverts shall commence from the downstream end.

(b) Pipe culverts

Rebate and socket ends of pipe sections shall be placed facing upstream and be fully entered. The lower portion of the pipe shall be in contact with the bedding for the full length of each section. The compacted bedding shall be shaped to accommodate the joint collar and ensure that the pipe is supported along its full length.

Where applicable, the top of the pipe as marked shall be within five degrees of the vertical axis of the culvert.

Corrugated metal culverts shall be assembled and laid as specified in clause 701.21.

The spacing for multiple row culverts shall be as shown in Table 701.171.

**Table 701.171**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Pipe Type** | **Corrugated Metal** | | **Corrugated Metal Pipe Arch** | | **Other** | | |
| Nominal Diameter (D)  or Width (mm) | Less than 2,400 | Over 2,400 | Less than 3,600 | Over 3,600 | Less than 600 | 600 to 1,800 | Over 1,800 |
| Clear space between rows | D/2 | 1.2 m | D/3 | 1.2 m | 0.3 m | D/2 | 0.9 m |

(c) Box culverts

Consecutive sections of box culverts shall be firmly butted together. The top sections shall be matched to the bottom sections and shall not be lapped over adjoining bottom sections.

The contact areas between the top and bottom sections shall be mortared.

Multi‑row box culverts shall be laid with the sections in each row in contact with the sections in the adjacent rows.

(d) Cutting of culverts

Where it is necessary to cut any culvert section to length or to create a penetration, cutting shall be done by machine to achieve a clean vertical face and any exposed reinforcement shall be coated with an approved epoxy treatment to prevent corrosion.

**©** Department of Transport May 2020

Section 701 (Page 8 of 14)

(e) Flexible pipes

Install to the dimensions shown on the Drawings, or where no dimension is shown, in accordance with the embedment geometry specified in AS/NZS 2566.1

Where Embankment Installation condition is specified, prior to commencing placing bedding and laying pipes, place and compact embankment fill to the height of the top of the side support zone above the foundation and for a minimum lateral distance from the centreline of the pipe of 2.5 times the largest external diameter of the pipe. Provide an alternate waterway area unless otherwise approved by the Superintendent.

Where Trench Installation condition is specified for pipes in an embankment, complete the embankment to the top of the Embedment Zone prior to the commencement of excavation.

701.18 JOINTS AND LIFTING HOLES

All interlocking (flush) joint reinforced concrete pipes shall be mortar jointed, or wrapped with a 200 mm wide external joint rubber band. External rubber bands shall be manufactured from natural rubber and have a minimum tensile strength of 18 MPa and a minimum elongation of 400% at break as determined in accordance with AS 1683, Method 11. Rubber band thickness shall not be less than 2 mm. In the case of internally jointed pipes 600 mm diameter and larger, the mortar shall be struck off flush with the bore of the pipe.

Rubber ring joint pipes shall be jointed with rubber rings.

Rubber rings shall be kept undisturbed, clean, and free from dirt and other foreign materials and shall be stored undercover if pipes are not to be installed immediately. Rubber ring joints shall be assembled and prepared in accordance with the manufacturer’s recommendations, shall be free of kinks and twists and shall be uniformly tensioned. Where rubber rings are disturbed they shall be cleaned and re-assembled prior to refitting.

Following the installation of each length of pipe and before proceeding to install the next length of pipe, the conformity of the assembled joint shall be verified by checking that the position of the rubber ring on the spigot, and the clearance and overlap between the spigot and socket, are within the values specified by the manufacturer.

Where lifting holes are provided, the pipes shall be laid with the hole uppermost. Lifting holes shall be plugged or otherwise closed off in accordance with the manufacturer’s instructions after the pipe is installed. Plugs shall not impair the pipe durability or serviceability.

701.19 PLACEMENT OF FILLING

(a) Unless the culvert is installed through an existing paved area, selected and ordinary backfill shall be placed as follows under, around, and above the culvert after the sections are bedded and compacted as specified in clause 701.20.

(i) Culvert under area to be paved

Where the trench has been excavated from design subgrade level or above, the trench shall be backfilled to design subgrade level with selected backfill material, and above that level with appropriate pavement material.

Where the trench is excavated from below design subgrade level the trench shall be filled with selected backfill material.

(ii) Culvert under area not to be paved

The trench shall be backfilled with selected backfill material to a level 0.3 m above the top of the culvert and with ordinary backfill material above that level.

**©** Department of Transport May 2020

Section 701 (Page 9 of 14)

(b) Where non‑trench conditions are permitted the following shall apply.

Selected backfill material shall be placed for the full width of the previously placed bedding material to a height of 0.3 m above the top of the culvert, or to subgrade level, whichever is the lower. To provide support for the selected backfill material, ordinary backfill material shall be placed simultaneously with the selected backfill material to a distance two culvert diameters clear of the culvert.

During filling, the maximum difference between filling placed on opposite sides of the culvert shall not exceed the lesser of one‑quarter the height of the culvert or 0.5 m.

Filling shall not be placed within 2 m of an exposed culvert end where a further section is to be placed.

(c) Backfilling with cement stabilised sand

Where approved by the Superintendent, culverts in trenches may be backfilled to half the pipe diameter or box culvert height with 3% cement stabilised sand with a water content sufficient to ensure penetration beneath the pipe or box culvert invert without leaving free surface water.

701.20 REQUIREMENTS FOR TESTING AND ACCEPTANCE OF COMPACTION AND MOISTURE CONTENT

Bedding and backfill materials shall be placed and compacted in layers not exceeding 150 mm loose thickness.

Bedding and backfill shall be assessed for compaction and or moisture in lots. The number of tests per lot shall be three. A lot shall consist of one layer of bedding or backfill for a culvert length between adjacent pits or endwalls. Notwithstanding the provisions of Section 173, a minimum of 20% of all lots for each culvert shall be tested. The calculation of density and moisture ratios shall be based on standard compactive effort.

Where the nominal size of bedding or backfill material after compaction is greater than 40 mm, the moisture ratio shall be determined on material that passes the 19.0 mm sieve.

(a) Bedding

Bedding shall be compacted to refusal using hand held mechanical equipment. Bedding material which has a swell equal to or greater than 2.5% shall be maintained at a mean moisture ratio of 92% between the completion of rolling and the placement of the overlying layer.

(b) Backfill

(i) Material of nominal size 40 mm or less after compaction

Backfill material which will have a nominal size after compaction of 40 mm or less shall be compacted to a mean value of density ratio of not less than 97%. Backfill material which has a swell equal to or greater than 2.5% shall be maintained at a mean moisture ratio of 92% between the completion of rolling and the placement of the overlying layer.

(ii) Material of nominal size greater than 40 mm after compaction

Backfill material which will have a nominal size after compaction greater than 40 mm shall be compacted using a grading, mixing, watering and rolling procedure.

Backfill material which has a swell equal to or greater than 2.5% shall be maintained at a mean moisture ratio of 92% between the completion of rolling and the placement of the overlying layer.

701.21 ASSEMBLY OF CORRUGATED METAL CULVERTS

All corrugated metal culvert sections supplied by the Contractor shall be assembled in accordance with the manufacturer's assembly instructions.

Where culvert sections are supplied free to the Contractor, the following will be provided:

Manufacturer's Assembly Drawings

Schedule of Parts Supplied

General Assembly Instructions

**©** Department of Transport May 2020

Section 701 (Page 10 of 14)

701.22 ASSEMBLY OF BURIED FLEXIBLE PIPELINES

All buried flexible pipe sections supplied by the Contractor shall be assembled in accordance with the manufacturer's assembly instructions.

Where sections are supplied free to the Contractor, the following will be provided:

Manufacturer's Assembly Drawings

Schedule of Parts Supplied

General Assembly Instructions.

701.23 INSTALLATION OF CULVERTS THROUGH EXISTING PAVED AREAS

The trench of culverts through existing paved areas shall be backfilled to the existing subgrade level with selected backfill material and the pavement restored using materials as shown below:

\*\*\*

|  |  |  |  |
| --- | --- | --- | --- |
| **Pavement Layer** | | **Material Type** | **Thickness (mm)** |
| 1. | ##: | ##: | ##: |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |

701.24 REMOVAL OF EXISTING CULVERTS

(a) General

Where specified the Contractor shall remove culverts from existing paved areas.

Except where the pavement under which the culvert passes is to be abandoned, the trench shall be kept to the minimum width to allow removal of the culvert or laying a replacement.

(b) Treatment of residual excavation

Where a culvert has been removed and the excavation is not to be backfilled, the excavation shall be neatly trimmed to slopes not steeper than 1 in 1.5 and the ends of the trench shaped to facilitate the smooth flow of water.

Where the trench is to be backfilled, this shall be done in accordance with the provisions of clause 701.20 and the final surface shall be shaped to conform with the adjoining profile.

(c) Pavement restoration

Pavement restoration shall be carried out using materials as shown below:

\*\*\*

|  |  |  |  |
| --- | --- | --- | --- |
| **Pavement Layer** | | **Material Type** | **Thickness (mm)** |
| 1. | ##: | ##: | ##: |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |

**©** Department of Transport May 2020

Section 701 (Page 11 of 14)

701.25 INLET AND OUTLET STRUCTURES

Inlet and outlet structures shall be constructed in accordance with the drawings and specification. Concrete used for the construction of inlet and outlet structures shall comply with the requirements of Section 610.

Footings shall extend to the depths shown on the drawings or as necessary to achieve a satisfactory foundation. If backfilling to the specified level is required, selected backfill material shall be used.

When the proposed foundation is unsatisfactory due to neglect or the use of inappropriate methods, no payment will be made for the work and materials necessary to provide a satisfactory foundation at the specified level.

701.26 MARKER POSTS ##(strikethrough if not required):

At all locations specified the Contractor shall supply and erect guide posts at the edges of the formations on the side of the culvert nearer approaching traffic.

701.27 EXIT AND ENTRY CHANNELS

Channels shall be excavated to facilitate the flow of water. They shall be of regular shape and sufficient area to take the flow of water without any low spots that might retain water. Any low areas shall be filled with suitable excavated material and firmly compacted.

701.28 FLUSHING OF CULVERTS

All culverts shall be flushed clean from end to end on completion and maintained in proper working order.

701.29 MINIMUM TESTING REQUIREMENTS

The Contractor shall test the bedding and backfill material at a frequency as shown in Table 701.291 to ensure that all materials comply with the specified requirements.

|  |  |  |
| --- | --- | --- |
| **Table 701.291** | **Test** | **Minimum Frequency of Testing** |
|  | Grading | One per 1000 tonnes or part thereof |
|  | Plasticity Index | One per 1000 tonnes or part thereof |

701.30 INSPECTION OF DRAINAGE LINES

**HP All drainage lines constructed shall be inspected, after completion of earthworks to subgrade level and prior to construction of pavement layers, by an independent testing organisation using closed circuit television (CCTV) to verify that the flow of water is not obstructed by waste construction material left inside and to check for visible signs of defects.**

Reporting of the CCTV inspections shall be in accordance with WSA 05‑2013 – Conduit Inspection Reporting Code of Australia, published by Water Services Association of Australia.

The report shall be provided to the Superintendent, with a copy of the CCTV record including any video recordings and a summary of the location of any defects detected by the survey.

Any sections of damaged pipe or box culvert which do not comply with the requirements of Clause 701.31 shall be removed and replaced.

Where approved by the Superintendent defects shall be repaired in accordance with the requirements of Clause 701.31 and a further CCTV survey shall be undertaken to verify correction of the defects.

Inspection of existing drainage lines shall be as specified in the drawings and specification.

**©** Department of Transport May 2020

Section 701 (Page 12 of 14)

701.31 REPAIRS TO DAMAGED PIPES AND BOX CULVERTS

(a) Steel reinforced concrete pipes

Any steel reinforced concrete pipes that have cracks wider than 0.2 mm or are damaged prior to laying and backfilling shall be rejected.

Where inspections after backfilling identify any of the following defects they shall be notified as a non-conformance:

• cracks wider than 0.5 mm

• spalling of concrete

• exposed reinforcement

• joints that are not fully engaged.

Any pipes with defects greater than the following limits shall be removed and replaced:

• longitudinal cracks greater than 2 mm

• circumferential cracks around the full circumference with width greater than 3 mm or with lateral displacement of the cracked sections exceeding 3 mm

• circumferential cracks around part of the circumference with width greater than 4 mm

• penetrations with area greater than 400 mm2

• pipe joints that are separated.

The Superintendent may agree to accept pipes with defects as noted above subject to demonstration that repairs will ensure that pipes will operate effectively for their design life. Consideration will only be given to products and procedures with proven performance and to the following types of treatments:

• hot sprayed epoxy coatings for cracks not wider than 4 mm with no lateral displacement

• fibre glass reinforced epoxy sleeving for cracks not wider than 4 mm with lateral displacements up to 3 mm

• spalled concrete, exposed steel reinforcement and penetrations shall be treated as patch repairs and repaired with polymer modified cementitious repair materials in accordance with the requirements of Section 689.

**The Contractor shall submit details of proposed rectification treatments including manufacturer’s product specifications and warranties, the area and thickness of repair treatment, detailed repair procedures, and inspection and test plans.**

**HP No repairs shall be undertaken without the Superintendent’s approval of the repair materials and procedures.**

All repairs shall be inspected using CCTV to verify compliance with the repair specifications.

(b) Fibre-reinforced concrete (FRC) rigid pipes

Any FRC rigid pipes that have cracks wider than 0.1 mm or are damaged prior to laying and backfilling shall be rejected.

Where inspections after backfilling identify any of the following defects they shall be notified as a non-conformance:

• cracks wider than 0.1 mm

• any other type of defect

• joints that are not fully engaged.

FRC rigid pipes subject to such non-conformance shall be removed and replaced, unless the Superintendent approves repairs to be undertaken in accordance with the FRC pipes manufacturer’s repair procedures and materials.

**©** Department of Transport May 2020

Section 701 (Page 13 of 14)

(c) Other types of pipes

Other types of pipes which exhibit defects or are otherwise damaged prior to laying and backfilling shall be rejected.

Where inspections after backfilling identify any defects, such pipes shall be removed and replaced, unless the Superintendent approves repairs to be undertaken in accordance with the manufacturer’s repair procedures and materials.

(d) Box culverts

Box culverts which do not comply with the requirements of clause 619.14 prior to laying and backfilling shall be rejected and removed from the site.

Where inspections after backfilling identify defects which do not comply with the requirements of clause 619.14, such culverts shall be removed and replaced, unless the Superintendent approves repairs to be undertaken in accordance with the requirements of Section 610, and Section 687 for crack repairs and Section 689 for conventional patch repairs.

**©** Department of Transport May 2020

Section 701 (Page 14 of 14)